| Requirements per student*/group of students | Notes |
| --- | --- |
| 3.60 g dm–3 anhydrous sodium carbonate, Na2CO3 | Labelled A1 (not with its concentration) Allow 150 cm3 per student |
| 1.00 mol dm–3 hydrochloric acid, HCl | Labelled B1 Allow 50 cm3 per student placed with communal burette |
| Methyl orange indicator | Screened methyl orange is an alternative per student or group |
| Communal burettes | Ideally one between two |
| 50.0 cm3 burette Stand White tile | At least class B |
| 25.0 cm3 pipette | With pipette filler |
| Funnel |  |
| 2 x 250 cm3 conical flasks |  |
| 250 cm3 volumetric flask |  |
| Plentiful supply of deionised/distilled water |  |
| Wash bottle |  |
| Label | Or glass marker pen |

# Text boxes

Technician Worksheet

Activity 6:   Finding the purity of a sample of sodium carbonate by titration

Student Worksheet

Activity 6:   Finding the purity of a sample of sodium carbonate by titration

Procedure

- Use the communal burettes to measure 20.00 cm3 of B1 into the 250 cm3 volumetric flask.

- Make up the contents of the flask to the mark with deionised/distilled water. Label this C1.

- Fill your burette with C1.

- Pipette 25.0 cm3 of A1 into a conical flask.

- Add a few drops of methyl orange to the conical flask.

- Titrate the contents of the conical flask with C1.

- Repeat the titration until you have concordant results (within 0.10 cm3).

- Record all titration results in a table (with units) showing initial and final burette readings.

Notes

- It is assumed that at least class B volumetric equipment is available.

- Students may need instruction in the use of pipettes (in particular the attaching of the pipette filler) and burettes depending on their experience at GCSE or equivalent.

- Students should be informed of the value of washing out burettes and pipettes with a small quantity of the solution that they will be measuring.

- Screened methyl orange may be used instead of methyl orange.

- At AS level concordant results should be within 0.10 cm3 rather than 0.05 cm3.

Questions

- Find out what could have caused the impurity in the sodium carbonate.

- Sodium carbonate has a number of uses in the lab and in industry. Find one for each.

- Explain why it was necessary to dilute the hydrochloric acid before carrying out the titration.

- Suggest how someone would have calculated the dilution of the HCl from 20.0 cm3 to 250 cm3.

- If the volumetric flask has a tolerance of 0.6 cm3, calculate the potential percentage inaccuracy in this apparatus.

Answers

Titre should be 21.20 cm3 depending on purity of original sodium carbonate.

- Sodium carbonate can absorb water from the atmosphere to form Na2CO3·xH2O.

- In the lab: it is used as a mild alkali and can be used to precipitate metal carbonates in analysis.

In industry: it is used in glassmaking.

- Without dilution the titre would have been one tenth the value obtained leading to a greater percentage error in the use of the burette.

- Concentration of Na2CO3 = 4.00/106 if pure

Amount of Na2CO3 in pipette

= (4.00/106) x (25.0/1000)

= 0.000943 mol

Amount of HCl reacting

= 2 x 0.000943 = 0.00189 mol

Concentration needed for titre of 25.0

= 0.00189/0.025

= 0.0756 mol dm–3

Dilution needed 0.0756 = (X /250) x 1.00

X   = 18.9 cm3

Hence rounded up to 20.0 cm3

- (0.6/250) x 100 = 0.24%

From the examiner…

- It is important to present your results (with units) in a table showing initial and final burette readings.

- Show clearly how the average titre is obtained.

- Explain each line of your calculation as shown in the Analysis of Results section above.

- Consider how many significant figures to use within the calculation.

- Consider how many significant figures to use in your final answer.

Teacher Worksheet

Safety

- Sodium carbonate solutions are low hazard at this concentration.

- 1.00 mol dm–3 hydrochloric acid is low hazard.

- However wearing eye protection 	is recommended.

Data

Na2CO3 + 2HCl    2NaCl + CO2 + H2O

C = 12.0, O = 16.0, Na = 23.0

Analysis of results

- Indicate which titres you use in your average.

- Calculate the average of your concordant results.

- Calculate the amount of HCl, in mol, in the volumetric flask.

- Calculate the amount, in mol, of HCl reacting with the Na2CO3.

- Calculate the amount, in mol, of Na2CO3 in the pipette.

- Calculate the amount, in mol, of Na2CO3 in 1.00 dm3 of A1.

- Calculate the mass of Na2CO3 in 1.00 dm3 of A1.

- Calculate the % purity of the 1.00 dm3 A1 sample.

Procedure

- Use the communal burettes to measure 20.00 cm3 of B1 into the 250 cm3 volumetric flask.

- Make up the contents of the flask to the mark with deionised/distilled water. Label this C1.

- Fill your burette with C1.

- Pipette 25.0 cm3 of A1 into a conical flask. (Seek advice on attaching pipette fillers)

- Add a few drops of methyl orange to the conical flask.

- Titrate the contents of the conical flask with C1.

- Repeat the titration until you have concordant results (within 0.10 cm3).

- Record all titration results in a table showing initial and final burette readings.

Equipment/materials

- A1: 4.00 g dm–3 impure sodium carbonate, Na2CO3

- B1: 1.00 mol dm–3 hydrochloric acid, HCl

- Methyl orange indicator

- Deionised/distilled water

- 25.0 cm3 pipette

- 50.0 cm3 burette and stand

- 250 cm3 volumetric flask

- Conical flask and funnel

- Wash bottle

- White tile

- Label or glass marker pen

Objective

- Be able to use volumetric equipment for dilution.

- Be able to carry out a titration.

- Be able to calculate purity using moles.

Safety

- Sodium carbonate solutions are low hazard at this concentration.

- 1.00 mol dm–3 hydrochloric acid is low hazard.

- However wearing eye protection 	is recommended.

From the examiner…

- It is important to present your results (with units) in a table showing initial and final burette readings.

- Show clearly how the average titre is obtained.

- Explain each line of your calculation as shown in the Analysis of Results section (Student worksheet).

- Consider how many significant figures to use within the calculation.

- Consider how many significant figures to use in your final answer.

Objective

- Be able to use volumetric equipment for dilution.

- Be able to carry out a titration.

- Be able to calculate purity using moles.

Activity 6:   Finding the purity of a sample of sodium carbonate by titration

Safety

- Sodium carbonate solutions are low hazard at this concentration.

- 1.00 mol dm–3 hydrochloric acid is low hazard.

- However wearing eye protection is recommended.

Objective

- Be able to use volumetric equipment for dilution.

- Be able to carry out a titration.

- Be able to calculate purity using moles.

Notes